Air Imaging of Proteins:

Here MBL

Samples 11-12 July 2002

20 μl  rMBL 10 μg/ml in 0.1M Tris pH 7.3 on freshly cleaved mica.

Incubate 10-15 minutes.

Rinse with DI water approximately 1 min.

Get lucky :-)

Previous, strange images with pits, could be due to a longer time between cleaving and application of droplet:

Henriette