## Slide 1
xx-mixer*
z-mixer**
* x cos(rotation) + y sin(rotation)
** takes care of z offset
CAMERA - for fast cantilever tracking Dionne
single > diff
IN
OUT
OUT
ADC1 -
cantilever movement
ADC2 - drive signal + trigger
oscilloscope
Break out box
DI controller
LPF
200 kHz
1
2
3
4
Ana 1 – driving signal
Ln- cantilever movement
Line trigger
x
y
Amp1: X amplified >max
Amp2: y amplified > ~ 1/10
Offset
Z amplifier: ~1/16
IN
IN
diff > single