| Name | Spring Constant (N/m) | Resonance Frequency (kHz) | Distributor | ### Description | Price (€) | Amount 02.2002 |
| --- | --- | --- | --- | --- | --- | --- |
| OTESPA | 20-100 |  | ## Di | Olympus TappingMode Etched Silicon | 72 | 2 |
| TESP | 20 |  | Di | TappingMode Etched Silicon |  | Claudiu |
| # NCH-R |  | 280-365 | Di | TappingMode Etched Silicon | 9 | 21 |
| FESP | 1-5 | 75 | Di | Force Modulation Etched Silicon | 25 | 0 |
| FM | 2.8 | 75 | Scientec | Nanosensors | 23 | 83 |
| DNP-S | 0.58,0.32,0.12,0.06 |  | Di | Silicon Nitride contact | 6 | Claudiu |
| NP-S | 0.58,0.32,0.12,0.06 |  | Di | Oxide-Sharpened Silicon Nitride | 8 | ¾ wafer |
| contact |  |  | Scientec | Contact mode probes |  | 16 |
| Mac Lever | 2.8 | 75 | Scientec | Magnetic probes |  | 40 |
| MADOTR |  |  | Di | Magnetic coating | 50 |  |
| Acoustic | 0.25, 1.75, 0.6 | 105, 155, 75 | Scientec | Acoustic probes |  | 5 |
| SCM- PIT | 2.8 | 75 | Di | Pl/Ir coated | 50 | 2 |
| EFM | 2.8 | 75 | Scientec | Pl/Ir coated | 53 | 45 |
| ContPt | 0.2 | 15 | Di | Pl/Ir coated | 134 | 16 |
| CSAFM | 0.35, 6 | 32, 155 | Scientec | Pl/Ir coated |  | 9 |
| OMCL | 0.02,0.09,0.16,0.68 | 13,40,27,86 | olympus | Contact mode | 46 | 60 |
| Bio-lever | 0.3, 0.06 | 37, 13 | olympus | Contact mode, gold on both sides | 38 | 24 |
| PT |  |  | Di | STM wires 8 mm |  | 20 |

#### Author: A. Stamouli