# Cleaning Procedure for AFM liquid cell

# and probes

 Rinse the liquid cell and probe with SDS

 Rinse with distilled water

 Place liquid cell in glass beaker with distilled water and bath sonicate for 10 min

 Blow dry the liquid cell with nitrogen

NOTE: Do not wash the normal tip holder.

author: Amalia Stamouli

date: February 2002